## Results Summary
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  |  |  |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  |  |  |  | Reviewer:
Name | Data File | Acq. Date-Time | Codeine | Amphetamine | Norfentanyl | Norcarfentanil | Xylazine | Heroin | Cocaine | Acetyl Fentanyl | Acryl Fentanyl | Fentanyl | 4-ANPP | para-Fluorofentanyl | Carfentanil | Lorazepam
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Run Comments

## Codeine
Codeine
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
Opening QC
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 4669.6045 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 10662.75 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 17.8768 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 17.925 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 2402.8789 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1948 | 0 | FAIL | -0.1 | -0.1 | PASS
Closing QC
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 4669.6045 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 10662.75 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 17.8768 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 17.925 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 2402.8789 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1948 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Codeine Results |  |  |  |  | Qualifier (300.2 -> 215.1) Method | Qualifier (300.2 -> 215.1) Results |  | Codeine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | In-Run QCL RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 2402.8789
Sample |  |  | Codeine Results |  |  |  |  | Qualifier (300.2 -> 215.1) Method | Qualifier (300.2 -> 215.1) Results |  | Codeine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Codeine Results |  |  |  |  | Qualifier (300.2 -> 215.1) Method | Qualifier (300.2 -> 215.1) Results |  | Codeine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N

## Amphetamine
Amphetamine
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 111899.25 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 281556.5 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 10.6664 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 10.6934 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 82640.4604 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 74113 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 111899.25 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 281556.5 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 10.6664 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 10.6934 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 82640.4604 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 74113 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Amphetamine Results |  |  |  |  | Qualifier (136.1 -> 119.0) Method | Qualifier (136.1 -> 119.0) Results |  | Amphetamine D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 82640.4604
Sample |  |  | Amphetamine Results |  |  |  |  | Qualifier (136.1 -> 119.0) Method | Qualifier (136.1 -> 119.0) Results |  | Amphetamine D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Amphetamine Results |  |  |  |  | Qualifier (136.1 -> 119.0) Method | Qualifier (136.1 -> 119.0) Results |  | Amphetamine D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Norfentanyl
Norfentanyl
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 3579.0922 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 78978.6348 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 96.3129 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 97.275 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 55805.8742 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 55871 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 3579.0922 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 78978.6348 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 96.3129 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 97.275 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 55805.8742 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 55871 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Norfentanyl Results |  |  |  |  | Qualifier (233.2 -> 84.1) Method | Qualifier (233.2 -> 84.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 55805.8742
Sample |  |  | Norfentanyl Results |  |  |  |  | Qualifier (233.2 -> 84.1) Method | Qualifier (233.2 -> 84.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Norfentanyl Results |  |  |  |  | Qualifier (233.2 -> 84.1) Method | Qualifier (233.2 -> 84.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Norcarfentanil
Norcarfentanil
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 8386.759 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 176191.694 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 16.6375 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 18.783 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 55805.8742 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 55871.4689 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 8386.759 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 176191.694 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 16.6375 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 18.783 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 55805.8742 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 55871.4689 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Norcarfentanil Results |  |  |  |  | Qualifier (291.2 -> 142.1) Method | Qualifier (291.2 -> 142.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 55805.8742
Sample |  |  | Norcarfentanil Results |  |  |  |  | Qualifier (291.2 -> 142.1) Method | Qualifier (291.2 -> 142.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Norcarfentanil Results |  |  |  |  | Qualifier (291.2 -> 142.1) Method | Qualifier (291.2 -> 142.1) Results |  | Norfentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Xylazine
Xylazine
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 9449.9969 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 223870.5754 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 7.6286 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 7.5762 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 13851.4254 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 15109.0574 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 9449.9969 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 223870.5754 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 7.6286 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 7.5762 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 13851.4254 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 15109.0574 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Xylazine Results |  |  |  |  | Qualifier (221.1 -> 72.0) Method | Qualifier (221.1 -> 72.0) Results |  | Xylazine D6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 13851.4254
Sample |  |  | Xylazine Results |  |  |  |  | Qualifier (221.1 -> 72.0) Method | Qualifier (221.1 -> 72.0) Results |  | Xylazine D6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Xylazine Results |  |  |  |  | Qualifier (221.1 -> 72.0) Method | Qualifier (221.1 -> 72.0) Results |  | Xylazine D6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Heroin
Heroin
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 410.0338 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 12568.5602 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 17.026 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 19.204 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 864.105 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1056.0128 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 410.0338 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 12568.5602 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 17.026 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 19.204 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 864.105 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1056.0128 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Heroin Results |  |  |  |  | Qualifier (370.2 -> 211.0) Method | Qualifier (370.2 -> 211.0) Results |  | Heroin D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 864.105
Sample |  |  | Heroin Results |  |  |  |  | Qualifier (370.2 -> 211.0) Method | Qualifier (370.2 -> 211.0) Results |  | Heroin D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Heroin Results |  |  |  |  | Qualifier (370.2 -> 211.0) Method | Qualifier (370.2 -> 211.0) Results |  | Heroin D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Cocaine
Cocaine
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 26839.475 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 499563.4105 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 7.0129 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 7.0896 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 146165.0258 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 142819.2389 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 26839.475 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 499563.4105 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 7.0129 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 7.0896 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 146165.0258 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 142819.2389 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Cocaine Results |  |  |  |  | Qualifier (304.2 -> 82.1) Method | Qualifier (304.2 -> 82.1) Results |  | Cocaine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 146165.0258
Sample |  |  | Cocaine Results |  |  |  |  | Qualifier (304.2 -> 82.1) Method | Qualifier (304.2 -> 82.1) Results |  | Cocaine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Cocaine Results |  |  |  |  | Qualifier (304.2 -> 82.1) Method | Qualifier (304.2 -> 82.1) Results |  | Cocaine D3 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Acetyl Fentanyl
Acetyl Fentanyl
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 27290.2425 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 605442.6952 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 23.4478 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 23.4791 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 5964.5753 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 6060.8878 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 27290.2425 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 605442.6952 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 23.4478 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 23.4791 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 5964.5753 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 6060.8878 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Acetyl Fetanyl Results |  |  |  |  | Qualifier (323.2 -> 188.1) Method | Qualifier (323.2 -> 188.1) Results |  | Acetylfentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 5964.5753
Sample |  |  | Acetyl Fetanyl Results |  |  |  |  | Qualifier (323.2 -> 188.1) Method | Qualifier (323.2 -> 188.1) Results |  | Acetylfentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Acetyl Fetanyl Results |  |  |  |  | Qualifier (323.2 -> 188.1) Method | Qualifier (323.2 -> 188.1) Results |  | Acetylfentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Acryl Fentanyl
Acryl Fentanyl
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 23622.2746 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 471645.65 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 25.0779 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 25.3272 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 58911.3046 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 60246.6798 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 23622.2746 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 471645.65 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 25.0779 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 25.3272 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 58911.3046 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 60246.6798 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Acryl Fentanyl Results |  |  |  |  | Qualifier (335.2 -> 188.1) Method | Qualifier (335.2 -> 188.1) Results |  | Acryl Fentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 58911.3046
Sample |  |  | Acryl Fentanyl Results |  |  |  |  | Qualifier (335.2 -> 188.1) Method | Qualifier (335.2 -> 188.1) Results |  | Acryl Fentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Acryl Fentanyl Results |  |  |  |  | Qualifier (335.2 -> 188.1) Method | Qualifier (335.2 -> 188.1) Results |  | Acryl Fentanyl D5 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Fentanyl
Fentanyl
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 23235.8773 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 458860.9853 | 0 | FAIL | Avg | 2.8872 | 0
| Qualifier | 24.0766 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 25.073 | 0 | FAIL | 0.1 | 2.9872 | Pass/Fail
| IS | 68486.9086 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 57124.3997 | 0 | FAIL | -0.1 | 2.7872 | FAIL
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 23235.8773 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 458860.9853 | 0 | FAIL | Avg | 2.8872 | 0
| Qualifier | 24.0766 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 25.073 | 0 | FAIL | 0.1 | 2.9872 | Pass/Fail
| IS | 68486.9086 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 57124.3997 | 0 | FAIL | -0.1 | 2.7872 | FAIL
Sample |  |  | Fentanyl Results |  |  |  |  | Qualifier (337.2 -> 188.1) Method | Qualifier (337.2 -> 188.1) Results |  | Fentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 68486.9086
Sample |  |  | Fentanyl Results |  |  |  |  | Qualifier (337.2 -> 188.1) Method | Qualifier (337.2 -> 188.1) Results |  | Fentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Fentanyl Results |  |  |  |  | Qualifier (337.2 -> 188.1) Method | Qualifier (337.2 -> 188.1) Results |  | Fentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## 4-ANPP
4-ANPP
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 26509.5654 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 399611.3957 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 22.6257 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 22.2596 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 74849.545 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 45360.1392 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 26509.5654 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 399611.3957 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 22.6257 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 22.2596 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 74849.545 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 45360.1392 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | 4-ANPP Results |  |  |  |  | Qualifier (281.2 -> 188.1) Method | Qualifier (281.2 -> 188.1) Results |  | 4-ANPP-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 74849.545
Sample |  |  | 4-ANPP Results |  |  |  |  | Qualifier (281.2 -> 188.1) Method | Qualifier (281.2 -> 188.1) Results |  | 4-ANPP-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | 4-ANPP Results |  |  |  |  | Qualifier (281.2 -> 188.1) Method | Qualifier (281.2 -> 188.1) Results |  | 4-ANPP-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## para-Fluorofentanyl
para-Fluorofentanyl
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 22136.9732 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 465170.3303 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 23.0514 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 24.2681 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 56224.4845 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 50792.6249 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 22136.9732 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 465170.3303 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 23.0514 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 24.2681 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 56224.4845 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 50792.6249 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | para-Fluorofentanyl Results |  |  |  |  | Qualifier (355.2 -> 188.1) Method | Qualifier (355.2 -> 188.1) Results |  | Parafluorofentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 56224.4845
Sample |  |  | para-Fluorofentanyl Results |  |  |  |  | Qualifier (355.2 -> 188.1) Method | Qualifier (355.2 -> 188.1) Results |  | Parafluorofentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | para-Fluorofentanyl Results |  |  |  |  | Qualifier (355.2 -> 188.1) Method | Qualifier (355.2 -> 188.1) Results |  | Parafluorofentanyl-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Carfentanil
Carfentanil
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 9779.5001 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 220361.6609 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 32.1912 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 32.7202 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 27950.5585 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 26266.3387 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 9779.5001 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 220361.6609 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 32.1912 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 32.7202 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 27950.5585 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 26266.3387 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Carfentanil Results |  |  |  |  | Qualifier (395.2 -> 335.2) Method | Qualifier (395.2 -> 335.2) Results |  | Carfentanil-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 27950.5585
Sample |  |  | Carfentanil Results |  |  |  |  | Qualifier (395.2 -> 335.2) Method | Qualifier (395.2 -> 335.2) Results |  | Carfentanil-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Carfentanil Results |  |  |  |  | Qualifier (395.2 -> 335.2) Method | Qualifier (395.2 -> 335.2) Results |  | Carfentanil-13C6 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Lorazepam
Lorazepam
Method/SOP |  |  | Column Lot #: |  |  |  | Urine Lot #: |  | Standards Date:
Batch ID: |  |  | Instrument: |  |  |  | Analyst: |  | Reviewer:
QC Criteria
Paste LRL and QCH Results in the light blue shaded areas. Paste LRL results in row 17 and QCH results in row 18.
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 699.2988 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 17220.68 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 8.7551 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 9.6062 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 1528.5566 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1616.1347 | 0 | FAIL | -0.1 | -0.1 | PASS
QC Low (LRL) | Response |  |  |  | Retention Time |  |  | QC High | Response |  |  |  | Retention Time
| 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value |  | 25% of Lowest |  | Run Value | Pass/Fail | Characterization |  | Run Value
| Analytical | 699.2988 | 0 | FAIL | Avg | 0 | 0 |  | Analytical | 17220.68 | 0 | FAIL | Avg | 0 | 0
| Qualifier | 8.7551 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail |  | Qualifier | 9.6062 | 0 | FAIL | 0.1 | 0.1 | Pass/Fail
| IS | 1528.5566 | 0 | FAIL | -0.1 | -0.1 | PASS |  | IS | 1616.1347 | 0 | FAIL | -0.1 | -0.1 | PASS
Sample |  |  | Lorazepam Results |  |  |  |  | Qualifier (321.0 -> 229.0) Method | Qualifier (321.0 -> 229.0) Results |  | Lorazepam 13C2D4 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
Opening QCL
Opening QCH
Closing QCL
Closing QCH
Sample Criteria | [15 empty] | Sample Criteria QC
Paste Sample Results in the light orange shaded areas.If more than 10 samples were analyzed in the bracket, add rows and drag down formulas. Conditional formatting will highlight RED if the sample fails for the criteria and GREEN if it passes for the criteria. All criteria must be GREEN for a sample to be considered a DETECT.
20 Samples between QCs? | Yes | 1. Retention Time |  | 2. Analyte Response |  |  | 3. Resp. Ratio | 4. Qualifier |  |  |  | 5. ISTD |  | Sample Result
|  | Avg In-Run RT | 0 | In-Run QCL Response Threshold |  |  | In-Run QCL RR |  | Qualifier Ion Ratio Limits |  |  | Response Threshold
|  | RT Limits | -0.1
|  |  | 0.1 | 0 |  |  | 0 |  | #DIV/0! | #DIV/0! |  | 1528.5566
Sample |  |  | Lorazepam Results |  |  |  |  | Qualifier (321.0 -> 229.0) Method | Qualifier (321.0 -> 229.0) Results |  | Lorazepam 13C2D4 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. From LRL | Ratio | MI | RT | Resp. | S/N | Detect/ND |  | RT PASS? | ANALYTE RESP. PASS? | IS PASS? | RR PASS? | Qual Ion Ratio <0 | All criteria met?
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
[14 empty] | #DIV/0! |  | Y | N | N | N | #DIV/0! | #DIV/0!
RAW Run data *PASTE HERE*
Sample |  |  | Lorazepam Results |  |  |  |  | Qualifier (321.0 -> 229.0) Method | Qualifier (321.0 -> 229.0) Results |  | Lorazepam 13C2D4 (ISTD) Results
Name | Data File | Acq. Date-Time | RT | Resp. | MI | S/N | RR | Rel. Resp. | Ratio | MI | RT | Resp. | S/N
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0